## Disk Health Events
WindowSMART 2012 / Home Server SMART 2012 Disk Health Event Reference
SCOM
Event ID | Log Type | Affects Health | Raises Alerts | W/C | Description
53820 | Error | Yes | Yes | Critical | Disk reports critical temperature. Default threshold is 65C; threshold is configurable.
53821 | Error | Yes | Yes | Critical | Disk reports overheated temperature. Default threshold is 55C; threshold is configurable.
53822 | Warning | Yes | Yes | Warning | Disk reports hot temperature. Default threshold is 50C; threshold is configurable. This alert can be suppressed.
53823 | Warning | Yes | Yes | Warning | Disk reports warm temperature. Default threshold is 42C; threshold is configurable. This alert can be suppressed.
53824 | Error | Yes | Yes | Critical | Disk health is reported as critical; one or more drive attributes have raised critical status (there will be other errors/warnings for this disk in the same polling cycle).
53825 | Warning | Yes | Yes | Warning | Disk health is reported as being questionable. One or more attributes have raised warning status (there will be other warnings for this disk in the same polling cycle).
53826 | Warning | Yes | No | Warning | Disk health is reported as being "geriatric." This means one or more SMART values have fallen equal to their zero thresholds. Per manufacturer specifications, this indicates the drive has exceeded its design lifetime.
53827 | Unused |  |  |  | Reserved for future use.
53828 | Unused |  |  |  | Reserved for future use.
53829 | Unused |  |  |  | Reserved for future use.
53830 | Error | Yes | Yes | Critical | Disk has raised a critical event due to Bad Sectors (Reallocated Sectors Count). For HDDs, the threshold is 50 bad sectors; for SSDs the threshold is customizable - default is 150).
53831 | Warning | Yes | Yes | Warning | Disk has raised a warning event due to Bad Sectors (Reallocated Sectors Count). For HDDs, the threshold is 1 bad sector; for SSDs the threshold is customizable - default is 50).
53832 | Error | Yes | Yes | Critical | Disk has raised a critical event due to End-to-End Errors (data corruption in the disk's cache RAM). Most disks have a low tolerance for these and even one can trigger TEC. WindowSMART's threshold for critical is 5.
53833 | Warning | Yes | Yes | Warning | Disk has raised a warning event due to End-to-End Errors (data corruption in the disk's cache RAM). Most disks have a low tolerance for these and even one can trigger TEC. WindowSMART's threshold for warning is 1.
53834 | Error | Yes | Yes | Critical | Disk has raised a critical event due to Reallocation Events. Note that the relationship between bad sectors and reallocation events may or may not be one to one. Threshold for critical is 50 on HDDs; configurable for SSDs.
53835 | Warning | Yes | Yes | Warning | Disk has raised a warning event due to Reallocation Events. Note that the relationship between bad sectors and reallocation events may or may not be one to one. Threshold for warning is 1 on HDDs; configurable for SSDs.
53836 | Error | Yes | Yes | Critical | Disk has raised a critical event due to Pending Bad Sectors. Threshold is 30. Applies only to HDDs and Jmicron-based SSDs.
53837 | Warning | Yes | Yes | Warning | Disk has raised a warning event due to Pending Bad Sectors. Threshold is 1. Applies only to HDDs and Jmicron-based SSDs.
53838 | Error | Yes | Yes | Critical | Disk has raised a critical event due to Offline Uncorrectable Sector Count (bad sectors detected during disk's offline scan). Threshold for critical is 50.
53839 | Warning | Yes | Yes | Warning | Disk has raised a warning event due to Offline Uncorrectable Sector Count. Threshold for warning is 1.
53840 | Error | Yes | Yes | Critical | Disk has raised a critical event due to a high Spin Retry Count. Threshold for critical is 8. Spin retries indicate a problem with the drive motor and/or bearings. Jmicron-based SSDs use this attribute to indicate a startup failure due to excessive power draw or a malfunction in the SSD's onboard power supply.
53841 | Warning | Yes | Yes | Warning | Disk has raised a warning event due to an increasing Spin Retry Count. Threshold for warning is 3.
53842 | Warning | Yes | Yes | Warning | Disk has raised a warning event due to an increasing number of CRC errors. This normally does not indicate a problem with the disk itself, but more likely a faulty data cable. In some cases it may be caused by faulty USB bridge chips in external drives. Threshold is 50.
53843 | Warning |  |  |  | A phantom disk has been detected in Storage Spaces. This indicates a disk was removed from the system without being removed from its assigned Storage Space. The disk may have failed, been taken offline or was removed by the user.
53844 | Error | Yes | Yes | Critical | Jmicron-based SSD health is critical due to excessive write errors (Bad Cluster Table Count).
53845 | Warning | Yes | Yes | Warning | Jmicron-based SSD health is warning due to excessive write errors (Bad Cluster Table Count).
53846 | Error | Yes | Yes | Critical | Samsung SSD is reporting a high Runtime Bad Block count.
53847 | Warning | Yes | Yes | Warning | Samsung SSD is reporting a high Runtime Bad Block count.
53848 | Warning | Yes | No | Warning | SSD reports via the "Life Curve Status" that the drive is "throttled." This is only found on SSDs with SandForce controllers, and is an indicator the drive detected excessive writes and is throttling drive access to preserve the media.
53849 | Error | Yes | Yes | Critical | SSD health is critical; SSD wearout indicator indicates < 10% life remaining (threshold is adjustable).
53850 | Warning | Yes | Yes | Warning | SSD health warning; SSD wearout indicator indicates < 30% life remaining (threshold is adjustable).
53851 | Information |  |  |  | An active health alert has been deactivated. The problem may have resolved itself, or a problem changed from warning to critical or critical to warning. The change of an alert's status removes the old alert and creates a new one.
53852 | Warning |  |  |  | Disk health is unknown; WindowSMART accessed the disk, but could not get any SMART data. If the disk is hardware RAID, a flash drive or a media card reader, you will likely see this.
53853 | Error | Yes | Yes | Critical | Disk Failure Alert - SMART reports threshold exceeded (TEC). Per SMART spec, disk will fail within 24 hours.
53854 | Warning | Yes | Yes | Warning | Disk Failure Alert - SMART reports value equals non-zero threshold. Per SMART spec, disk could fail within 24 hours.
53855 | Error | Yes | Yes | Critical | Disk overheated for >= 3 polling intervals; shutting down computer per option set.
53856 | Error | Yes | Yes | Critical | Disk overheated for >= 3 polling intervals; no shutdown.
53857 | Unused |  |  |  | Reserved for future use.
53858 | Unused |  |  |  | Reserved for future use.
53859 | Unused |  |  |  | Reserved for future use.

## Operational Events
WindowSMART 2012 / Home Server SMART 2012 General Operation Event Reference
SCOM
Event ID | Log Type | Affects Health | Raises Alerts | W/C | Description
53860 | Information |  |  |  | Disk polling operation is starting. Event 53861 indicates the end of the polling operation.
53861 | Information |  |  |  | Disk polling operation is ending. A summary with the execution time is given.
53862 | Warning |  |  |  | Unable to validate the user-configured debug logging path. This would occur only if debug logging is enabled.
53863 | Error |  |  |  | Unable to validate the default debug logging path. This would occur after event 53311; the system attempts to use the configured path and if that fails, falls back to the default path. This would prevent debug logs from being generated.
53864 | Error |  |  |  | The logfile path is not accessible. Either it does not exists, or the location is not writable. Debug logs, if enabled, cannot be created.
53865 | Information |  |  |  | A product update is available.
53866 | Warning | Yes | Yes | Warning | A thermal shutdown has been ordered.
53867 | Warning |  |  |  | An error occurred releasing resources of a disk record during service shutdown. This should not pose any problems, as the service will terminate whether or not resource releasing succeeds.
53868 | Warning |  |  |  | An error occurred releasing resources during service shutdown. This should not pose any problems, as the service will terminate whether or not resource releasing succeeds.
53869 | Error |  |  |  | Cannot run the emergency backup because the local target selected as the destination disk is a disk indicating it will fail.
53870 | Information |  |  |  | Too many sessions - The user attempted to launch more than one instance of the application. The subsequent instance(s) will exit.

## Serious Errors
WindowSMART 2012 / Home Server SMART 2012 Serious Error Event Reference
NOTE: | Events on this page log under the event source of "JoshuaHss".
SCOM
Event ID | Log Type | Affects Health | Raises Alerts | W/C | Description
53880 | Error | Yes | No | Warning | An exception occurred during a scheduled auto-polling operation. Some or all disks may not have been scanned, or detected problems were not alerted.
53881 | Error | Yes | No | Warning | An exception occurred during a disk polling operation. Some or all disks may not have been scanned.
53882 | Error | Yes | Yes | Critical | The main service failed to initialize. This should never occur, unless the service is configured to run under a specific user ID with incorrect permissions. By default the service runs as the SYSTEM account.
53883 | Error | Yes | Yes | Critical | A serious error occurred within the main service thread. The thread is shutting down (and disk monitoring is stopping).
53884 | Error | Yes | No | Warning | An assessment of the collected disk health data failed.
53885 | Error |  |  |  | An error occurred clearing the stale disks list.
53886 | Warning |  |  |  | Automatic update check failed (exception was thrown).
53887 | Warning |  |  |  | If an emergency backup runs and the target is a UNC path (network share), the drive mapping operation failed. This may appear repeatedly, as WindowSMART attempts to use drive letters B, D, E, F…Z until it can find one that works.
53888 | Error | Yes | No | Warning | Emergency backup cannot map to UNC path for any drive letter, so it's giving up.
53889 | Error | Yes | No | Warning | A thermal shutdown was ordered, but an error occurred processing the shutdown request.
53890 | Error |  |  |  | An exception was thrown during the thermal shutdown assessment.
53891 | Error | Yes | No | Warning | An exception was thrown while examining the SMART data of an individual disk. (Should not affect assessment of others.)
53892 | Error |  |  |  | UI error in Settings dialogue - unable to bind to the "dnhsSmart" service.
53893 | Error | Yes | No | Warning | Cannot run emergency backup because the list of source folders cannot be read.
53894 | Error |  |  |  | Unable to set hot TEC true/false flag in Registry.
53895 | Error |  |  |  | Unable to set general TEC true/false flag in Registry.
53896 | Error |  |  |  | An exception was thrown during the emergency backup disk TEC assessment.

## Legacy Events
WindowSMART 2012 / Home Server SMART 2012 Legacy Event Reference
DEPRECATED: Items listed on this page are no longer valid. They are provided for reference only.
Event ID | Severity | Reason Logged
53311 | Warning | Unable to validate the user-configured debug logging path. This would occur only if debug logging is enabled.
53312 | Error | Unable to validate the default debug logging path. This would occur after event 53311; the system attempts to use the configured path and if that fails, falls back to the default path. This would prevent debug logs from being generated.
53313 | Error | The logfile path is not accessible. Either it does not exists, or the location is not writable. Debug logs, if enabled, cannot be created.
53821 | Information | Disk polling operation is ending. A summary with the execution time is given.
53822 | Error | The main service failed to initialize. This should never occur, unless the service is configured to run under a specific user ID with incorrect permissions. By default the service runs as the SYSTEM account.
53823 | Error | An exception occurred during a scheduled auto-polling operation. Some or all disks may not have been scanned, or detected problems were not alerted.
53824 | Error | An exception occurred during a disk polling operation. Some or all disks may not have been scanned.
53825 | Error | An assessment of the collected disk health data failed.
53827 | Warning | An error occurred releasing resources of a disk record during service shutdown. This should not pose any problems, as the service will terminate whether or not resource releasing succeeds.
53828 | Warning | An error occurred releasing resources during service shutdown. This should not pose any problems, as the service will terminate whether or not resource releasing succeeds.
53830 | Error | Disk reports critical temperature.
53831 | Error | Disk reports overheated temperature.
53832 | Warning | Disk reports hot temperature. Note that this alert level can be disabled.
53833 | Warning | Disk reports warm temperature. Note that this alert level can be disabled.
53834 | Error | Disk health is reported as critical; one or more drive attributes have raised critical status (there will be other errors/warnings for this disk in the same polling cycle).
53835 | Warning | Disk health is reported as being questionable. One or more attributes have raised warning status (there will be other warnings for this disk in the same polling cycle).
53836 | Warning | Disk health is reported as being "geriatric." This means one or more SMART values have fallen equal to their zero thresholds. Per manufacturer specifications, this indicates the drive has exceeded its design lifetime.
53837 | Error | Disk has raised a critical event due to Bad Sectors (Reallocated Sectors Count). For HDDs, the threshold is 50 bad sectors; for SSDs the threshold is customizable).
53838 | Error | Disk has raised a critical event due to End-to-End Errors (data corruption in the disk's cache RAM). Most disks have a low tolerance for these and even one can trigger TEC. WindowSMART's threshold for critical is 5.
53839 | Error | Disk has raised a critical event due to Reallocation Events. Note that the relationship between bad sectors and reallocation events may or may not be one to one. Threshold for critical is 50.
53840 | Error | Disk has raised a critical event due to Pending Bad Sectors. Threshold is 30. Applies only to HDDs and Jmicron-based SSDs.
53841 | Error | Disk has raised a critical event due to Offline Uncorrectable Sector Count (bad sectors detected during disk's offline scan). Threshold for critical is 50.
53842 | Error | Disk has raised a critical event due to a high Spin Retry Count. Threshold for critical is 8. Spin retries indicate a problem with the drive motor and/or bearings. Jmicron-based SSDs use this attribute to indicate a startup failure due to excessive power draw or a malfunction in the SSD's onboard power supply.
53843 | Warning | Disk has raised a warning event due to Bad Sectors (Reallocated Sectors Count). For HDDs, the threshold is 1 bad sector; for SSDs the threshold is customizable).
53844 | Warning | Disk has raised a warning event due to End-to-End Errors. Threshold is 1.
53845 | Warning | Disk has raised a warning event due to Reallocation Events. Threshold for warning is 1. On Jmicron-based SSDs, this is reported as Write Errors (Bad Cluster Table Count).
53846 | Warning | Disk has raised a warning event due to Pending Bad Sectors. Threshold is 1. Applies only to HDDs and Jmicron-based SSDs.
53847 | Warning | Disk has raised a warning event due to Offline Uncorrectable Sector Count. Threshold for warning is 1.
53848 | Warning | Disk has raised a warning event due to an increasing Spin Retry Count. Threshold for warning is 3.
53849 | Warning | Disk has raised a warning event due to an increasing number of CRC errors. This normally does not indicate a problem with the disk itself, but more likely a faulty data cable. In some cases it may be caused by faulty USB bridge chips in external drives. Threshold is 50.
53850 | Error | Disk Failure Alert - SMART reports threshold exceeded (TEC). Per SMART spec, disk will fail within 24 hours.
53851 | Warning | Disk Failure Alert - SMART reports value equals non-zero threshold. Per SMART spec, disk could fail within 24 hours.
53852 | Warning | Disk health is unknown; WindowSMART accessed the disk, but could not get any SMART data. If the disk is hardware RAID, a flash drive or a media card reader, you will likely see this.
53853 | Error | On Jmicron-based SSDs, this is reported as Write Errors (Bad Cluster Table Count).
53854 | Warning | On Samsung SSDs, this is the Runtime Bad Block.
53855 | Information | An alert entry has been removed (deactivated).
53856 | Error | An error occurred clearing the stale disks list.
53857 | Error | Disk overheated for >= 3 polling intervals; shutting down computer per option set.
53858 | Error | Disk overheated for >= 3 polling intervals; no shutdown.
53859 | Warning | A thermal shutdown has been ordered.
53860 | Error | A thermal shutdown was ordered, but an error occurred processing the shutdown request.
53861 | Error | An exception was thrown during the thermal shutdown assessment.
53870 | Error | Unable to assess disk's SMART data.
53920 | Error | SSD health is critical; SSD wearout indicator indicates < 10% life remaining (threshold is adjustable).
53921 | Warning | SSD health warning; SSD wearout indicator indicates < 30% life remaining (threshold is adjustable).
53922 | Warning | SSD reports via the "Life Curve Status" that the drive is "throttled." This is only found on SSDs with SandForce controllers, and is an indicator the drive detected excessive writes and is throttling drive access to preserve the media.
53924 | Error | Automatic update check failed.
53948 | Warning | If an emergency backup runs and the target is a UNC path (network share), the drive mapping operation failed. This may appear repeatedly, as WindowSMART attempts to use drive letters B, D, E, F…Z until it can find one that works.
53949 | Error | Emergency backup cannot map to UNC path for any drive letter, so it's giving up.
53973 | Error | A serious error occurred within the main service thread. The thread is shutting down (and disk monitoring is stopping).
53999 | Information | A product update is available.